## Outline
Zero Net Energy Homes course syllabus
Week
Week 1 | 6:28 | Video | Introduction to the Zero Net Energy Home Course
1:29:30 | 32:16 | Video | Introduction to Zero Net Energy Homes
|  | Reading | Energy Free Ch 1-3
|  | Reading | Toward a ZEH Introduction; Ch 5
|  | Reading | Seven Steps to a ZEH (NAHB Research Center)
|  | Reading | Net-Zero Energy Buildings Take Hold in U.S.
|  | Reading | Reading a Compass
|  | Resource | Source Energy and Emission Factors
|  | Resource | Zero Energy Buildings: A Critical Look at the Definition
|  | Resource | Zero Net Energy Buildings Principles
|  | Homework | Calculate floor area, floor area/person, surface area 6 sides of your own home, surface/floor area
| 20:49 | Video | Energy
|  | Reading | NMSEA Energy Primer Sections 1-3
|  | Reading | Eliakim's Way First Year Report
|  | Reading | Eliakim's Way Two Years
|  | Homework | Calculate your household's energy usage for one year, house thermal and electrical, and car
|  | Homework | Calculate your house's energy use intensity for one year in kBTU/sqft/yr
| 29:57 | Video | Solar Energy
|  | Reading | Toward a ZEH Ch 2
|  | Resource | PVWatts
|  | Resource | Marc's Solar Calculator
|  | Homework | Using PVWatts v1 and V2, find your closest city in V1, and your actual 40 Km cell in V2, and compare the average daily solar insolation by month. Which is greater?
|  | Homework | Estimate your house's January heating energy consumption from your fuel bills, and estimate how many ft2 of unshaded south glazing you'd need to offset it. Assume a SHGC of 0.5
Week 2 | 19:59 | Video | Heat Transfer
1:24:03 |  | Reading | Methods of Heat Transfer
|  | Reading | Brief Introduction to Heat Transfer
|  | Reading | Thermal Control in Buildings - Straube
| 26:32 | Video | Calculating Heat Loss
|  | Reading | GBA Perform Heat Loss Calculations
|  | Reading | GBA Perform Heat Loss Calculations
|  | Resource | Inspirational speech
|  | Resource | Marc's Heat Loss Calculator
|  | Resource | R Value Library
|  | Resource | Wikipedia R Value
|  | Resource | NIST Materials Database
|  | Homework | Calculate the peak heat loss of a house in Boston
Slab on grade, 24x36, 17' high walls, truss roof, Walls 2x6 with cellulose; truss 15" cellulose, 200 sf windows wood low-e argon, 40 sf doors opaque, three inches of XPS foam at the foundation perimeter and sub-slab, 0.15 CFM50/ssf
50 CFM of ventilation, ventilation effectiveness 0.65. Design temp 8F, indoor temp 70F
| 37:32 | Video | Moisture
|  | Reading | Understanding Drainage Planes BSC
|  | Reading | Understanding Vapor barriers
|  | Reading | Residential Water Management Details
|  | Resource | Moisture Control for New Residential Buildings
|  | Resource | Building Materials Properties Table BSC
|  | Resource | Rain Control in Buildings
Week 3 | 41:42 | Video | Air Barriers
1:11:39 |  | Reading | Air Barriers vs. Vapor Barriers
|  | Homework | Make an AB sketch of your house, if you were to tighten it, showing all materials and how they connect
|  | Homework | Using the last week's exercise in the Heat Loss Calculator, calculate the difference between the design heat loss with an AB specification of 0.25 CFM50/ssf and 0.05 CFM50/ssf
| 29:57 | Video | Thermal Bridges
|  | Reading | A Bridge Too Far BSC
|  | Resource | Marc's Thermal Bridge Calculator
Week 4 | 29:32 | Video | Foundations
1:39:11 |  | Reading | Understanding Basements BSC
|  | Reading | How To Finish Exterior Insulation
|  | Resource | High R Value Foundations
|  | Resource | Radon Control
| 43:25 | Video | Walls
|  | Reading | Energy Free pps 73-103
|  | Reading | Toward a ZEH Ch 1
|  | Resource | Global Warming on Insulation
|  | Resource | Headlok application table
|  | Resource | Lstiburek's Barn case study
|  | Resource | High R Value Walls
| 26:14 | Video | Roofs
|  | Reading | How To Build an Insulated Cathedral Ceiling
|  | Reading | Martin's 10 Rules of Roof Design
|  | Reading | Lstiburek's Roof Venting Rules
|  | Resource | High R Value Roofs
|  | Homework | Draw a wall section with foundation, first floor, wall, and cathedral roof for a house with ICFs a true R-40 wall and a true R-50 roof
Week 5 | 46:00 | Video | Windows
1:27:53 |  | Reading | Window Basics
|  | Reading | Passivehouse windows
|  | Reading | Panflashing Windows
|  | Resource | Windows and Occupant Comfort
|  | Resource | Cardinal Glazing Performance Values
|  | Resource | Roger Normand's blog on Finding a Window for his Passivehouse
| 28:18 | Video | Solar electricity
|  | Reading | Solar Electricity Basics FSEC
|  | Reading | Toward a ZEH Ch 3
|  | Resource | PVWatts
|  | Resource | MA Clean Energy Center Production Estimator
|  | Resource | Instructions MA Clean Energy Center Production Estimator
|  | Homework | Calculate how many kW of PV you would need to zero out your electrical usage for the year. Assume an unshaded roof facing south, at your latitude tilt
| 13:35 | Video | Lights and appliances
|  | Reading | Energy Free Ch 5
|  | Resource | Top Ten USA Most efficient appliances
|  | Resource | Electricity usage calculator
|  | Resource | Electricity usage calculator
|  | Homework | What are the three biggest opportunities in your household to reduce electrical usage?
Week 6 | 59:03 | Video | Ventilation part 1
1:48:57 | 49:54 | Video | Ventilation part 2
|  | Reading | Review of Residential Ventilation Technologies
|  | Reading | Heat and Energy Recovery UMN
|  | Reading | Heat and Energy Recovery MNSHI
|  | Resource | Home Ventilating Institute Certified Product Directory
|  | Resource | ACCA Manual D Speed Spreadsheet
|  | Resource | Carrier Application Guideline HRV
|  | Resource | Zehnder ventilation products
|  | Resource | Venmar EKO HRV/ERV
|  | Homework | Do a concept design for an HRV in your house. Show where the exterior wall penetrations would go, and show locations and CFM for fresh air supplies and stale air exhausts.
Week 7 | 19:15 | Video | Fuels and Equipment
1:09:20 | 24:42 | Video | Cooling
| 25:23 | Video | System Approaches and Minisplits
|  | Reading | Toward a ZEH Ch 4
|  | Resource | AHRI Product Directory
|  | Resource | Just Two Minisplits GBA
|  | Resource | Heating a Tight Well-insulated House GBA
|  | Resource | Passive and low energy cooling MR
|  | Resource | Mitsubishi M Series catalog
|  | Resource | Fujitsu Halcyon catalog
|  | Homework | Select a minisplit heat pump system that will heat the Example House from Week 4 with the 0.05 CFM50/ssf air tightness
Week 8 | 39:41 | Video | DHW
1:13:56 |  | Reading | Gary Klein DHW distribution
|  | Reading | Heat Pump Water Heaters GBA
|  | Resource | Marc's DHW Calculator
|  | Resource | Drainwater heat recovery
|  | Homework | Estimate your household's DHW use and calculate how much energy your household uses annually to make DHW
| 34:15 | Video | Solar Thermal
|  | Reading | Energy Free Ch 6
|  | Reading | Solar Thermal is Dead GBA
|  | Reading | Solar hot water FSEC
|  | Resource | Solar Hot Water Systems Tom Lane
|  | Resource | Convert Your Home to Solar Energy - Everett Barber
|  | Resource | Solar collector ratings SRCC
|  | Resource | Build It Solar
|  | Homework | What size solar thermal system would be appropriate to heat the DHW in your household?
Week 9 | 10:00 | Video | Degree Days
32:06 |  | Resource | Degree Days.net
| 22:06 | Video | Energy Modeling
|  | Reading | Understanding the Energy Modeling Process MR
|  | Resource | Marc's Energy Model
|  | Homework | Take the Example from Week 4 and do an annual energy model in Boston, MA. Assume 100 ft2 S window, and 1/3 of the rest on E, N, W. SHGC = 0.5. Size the PV system, unshaded 45 degree roof facing south.
R-20 slab, R-40 wall, R-60 ceiling, R-5 windows and doors, 0.05 CFM50/ssf, 50 CFM, 70% effectiveness. 275 kWh/month internal electricity, 25 kWh external electricity. 50 gpd, 50-130F, HPWH COP 2. Minisplit COP 2.3
Net glazed area is 72% of window area. South glazing is 20% shaded Nov. - Feb. Cooling is 450 kWh/year
Week 10 |  | Homework | Design a ZNE project. Show wall sections, floor plans, elevations, HVAC system, DHW system, annual energy model and PV sizing,
|  | Resource | Pill Maharam House
|  | Resource | Bindley House
|  | Resource | Clarke house
|  | Resource | Moomaw House
|  | Resource | Livermore House
|  | Resource | Ross House
|  | Resource | NESEA article on House 5